## Slide 2: HIV Testing and Management in the era of PrEP HIV testing: updates and challenges
Bernard M Branson MD
@TwitterHandle
Share your thoughts on this presentation with #IAS2019

## Slide 3: Background and Disclosure of Financial Relationships
Dr. Branson previously served as Associate Director for Laboratory Diagnostics in CDC’s Division of HIV/AIDS Prevention until October 2014.
Dr. Branson currently serves as consultant to the Gilead Sciences FOCUS Program and Chembio Diagnostic Systems, Inc.

## Slide 4: Use of Brand Names
This presentation will refer to individual HIV tests by brand name for the purposes of identification and clarity.
No endorsement of any specific test is intended.

## Slide 5: Evolution of HIV Tests
1st generation: whole viral lysate, detects IgG antibody
2nd generation: synthetic peptides, detects IgG antibody
3rd generation: detect IgM and IgG antibody
4th generation: detects IgM, IgG antibodies, p24 antigen

## Slide 6: 1st and 2nd Generation: Indirect EIA
Plasma/serum
(1 h/37o C)
Plasma/serum
Color
reagent
Antigen
1st - Viral lysate
2nd – Recombinant proteins or synthetic peptides
HIV antibody
Enzyme label
Anti-human IgG
Color change with HIV IgG
Detection
IgG
IgM
IgG

## Slide 7: 3rd Generation: Sandwich EIA
Plasma/serum
(1 h/37o C)
Plasma/serum
Color
reagent
Antigen
1st - Viral lysate
2nd – Recombinant proteins or synthetic peptides
HIV antibody
Enzyme label
Anti-human IgG
Color change with HIV IgG or IgM
Detection
IgG
IgM
IgG
HIV antigen
Enzyme label
IgM
Antigen
Recombinant proteins or synthetic peptides

## Slide 8: 4th Generation: Sandwich EIA
Plasma/serum
(1 h/37o C)
Plasma/serum
Color
reagent
HIV antibody
Enzyme label
Color change with HIV IgG, IgM or p24 Ag
Detection
HIV antigen
Antigen:
Recombinant proteins or synthetic peptides
Monoclonal anti-p24 antibody
anti-p24
p24 Ag

## Slide 9: Rapid Tests: which generation?
Plasma/serum
(1 h/37o C)
Plasma/serum
Blood, oral fluid
Colloidal Gold
Protein A
HIV antibodies
IgG antibodies
Protein A binds to IgG, ± IgM
HIV Antigen
Recombinant proteins or synthetic peptides
Control
Anti-human IgG
(Indirect IA)

## Slide 10: HIV-1: viral antigens and RNA
gp120
gp 41
p24
RNA

## Slide 11
Chembio Stat Pak
INSTI HIV 1/2
gp41, gp120
gp41, gp120
gp41, gp120
gp41
gp41
Oraquick Advance
Chembio Sure Check
DPP HIV 1/2
Uni-Gold Recombigen
gp41, gp120
Determine Combo Ag/Ab
gp41, gp120
Which HIV antibodies do rapid tests detect?

## Slide 12: Which test is currently used most often to detect HIV infection?
CIA – Chemiluminescent Immunoassay
DIA – Defense Intelligence Agency
EIA – Enzyme Immunoassay
MFI – Multiplex Flow Immunoassay
None of the above

## Slide 13
Abbott Architect Ag/Ab Combo
2010
Siemens Advia Centaur® CHIV
2015
Bio-Rad Ag/Ab Combo EIA
2011
EIA
CIA
CIA
Elecsys HIV combi PT
July 2017
VITROS HIV combo
Dec 2017
CIA
CIA

## Slide 14: Chemiluminescence Immunoassays
AE
S
B
gp41/120
Ag
B
IgM/IgG
S
B
gp36
Ag
B
S
B
HIV1 “O”
Ag
B
AE
AE
HIV1 “O”
Ag
gp36
Ag
gp41/120
Ag
Chemi-
luminesce
WASH
WASH
Serum/plasma
Magnetic
Micro-Particles
Coated with Antigens
and antibody
Light Reagent
Antigens and antibodies
labeled with AE
AE
gp41/120
Ag
S
gp41/120
Ag
B
Trigger Solution
Relative light units
Αnti- p24
Monoclonal
p24
Ag
S
B
AE
AE
Αnti- p24
Monoclonals

## Slide 15: Multiplex Flow Immunoassay: Bioplex HIV Ag/Ab Combo
Beads conjugated to HIV-1 Group M and O antigens, HIV-2 antigens, and p24 antibody
Distinguishes between
  p24 antigen
  HIV-1 antibodies
  HIV-2 antibodies
“Fifth Generation”
2015
  HCV
  RPR and Treponemal syphilis

## Slide 16: New terminology
Instrumented lab test
Single-use rapid test

## Slide 17: Antigens used by instruments to detect HIV-1
“3rd generation” instrumented antibody tests | 
Bio-Rad GS HIV-1/2 Plus O | p24, gp160
Ortho Vitros Anti-HIV 1+2 | p24, gp41, gp41/120
Siemens Advia Centaur HIV 1/O/2 | p24, gp41/120
“4th generation” instrumented Ag/Ab combo tests | 
Abbott Architect HIV Ag/Ab Combo | gp41
Bioplex 2200 HIV Ag-Ab | gp160
Bio-Rad GS HIV Combo Ag/Ab | gp41, gp160
Ortho Vitros combi | gp41, gp41/120
Siemens Advia | gp41/120
Roche Elecsys | gp41, RT
Just like single-use rapid tests

## Slide 18: Sequence of Test Positivity Relative to WB (plasma)
Bio-Plex Ag/Ab Combo
Delaney et al, Clin Inf Dis 2017
Days before WB positive (50% Cumulative Frequency)
WB positive
APTIMA
GS 1/2+O
Multi-Spot
Reveal G3,
OraQuick
Unigold
25
20
10
5
0
15
Architect Ag/Ab Combo
SureCheck HIV-1/2
HIV-1/2 STAT-PAK
Advia Centaur
Ortho Vitros
INSTI
Bio-Rad Ag/Ab Combo
DPP
Determine Ag/Ab Combo
166 specimens, 17 Seroconverters - 50 % Positive Cumulative Frequency
Advia Centaur Ag/Ab
Window Period

## Slide 19
HIV RNA (plasma)
HIV Ab
0
10
20
30
40
50
60
70
80
180
240
HIV p24 Ag
Eclipse
Period
Acute
Infection
Recent Infection
Days
300
360
Longstanding Infection
HIV Infection
RNA
Detection
IgM Antibody Detection
IgG Antibody Detection
Positive Western Blot
Fiebig I
Fiebig II
Fiebig III
Fiebig V
Fiebig VI
Fiebig IV
Timeline of Laboratory Markers

## Slide 20: Modeling the Eclipse Period
10,000 Monte Carlo simulations
Delaney et al, Clin Inf Dis 2017
Mean: 13 days
Median: 11.5 days

## Slide 21
Category (No. of Tests) | Median Days (Interquartile Range) | 99th Percentile (Days)
Antibody/antigen instrumented (4) | 17.8 (13.0, 23.6) | 44.3
IgG/IgM-sensitive instgrumented (3) | 23.1 (18.4, 28.8) | 49.5
IgG-sensitive single-use rapid (6) | 31.1 (26.2, 37.0) | 56.7
IgG-sensitive supplemental (2) | 33.4 (28.5, 39.2) | 58.2
Western blot (viral lysate) (1) | 36.5 (31.0, 43.2) | 64.8
Estimated Window Periods of Available HIV Tests - Plasma
Delaney et al CID, 2017
When can I be sure?
Notes: Estimated median, interquartile range, that is, the 25th and 75th percentiles, and 99th percentiles of the window period distribution, the duration of time between human immunodeficiency virus exposure and immunoassay reactivity, in days. Percentiles are means of respective percentiles from 4 computational methods and from all tests of a category of tests. Window period estimates were sums of 10 000 simulated days inter- test reactivity interval, using parameters from the observed data (testing of plasma specimens), and 10 000 simulated eclipse period days as graphed in Figure 1.
Abbreviation: Ig, immunoglobulin.

## Slide 22: CDC Retesting Recommendations
Post exposure, after a negative test, retesting is recommended after at least
  45 days with an Ag/Ab test on serum/plasma
  90 days using with all other HIV tests
- https://www.cdc.gov/hiv/basics/testing.html

## Slide 23
ART is being initiated earlier and earlier,
sometimes
during
Acute HIV Infection

## Slide 24
234 patients enrolled in AHI study Bangkok, Thailand
  41 Fiebig I (NAT+ / Ag- / IgM-, IgG-, WB-)
  72 Fiebig II (NAT+/ Ag+/ IgM-, IgG-, WB-)
  92 Fiebig III (NAT+/ Ag+/ IgM+, IgG-, WB-)
  19 Fiebig IV (NAT+/ Ag+/ IgM+, IgG-, WB ind)
  10 Fiebig V (NAT+/ Ag+, IgM+, IgG+, WB+ without p31)

## Slide 25: Antibody Response to HIV (without treatment)
- Keating et al CID, 2016

## Slide 26: Effect of ART during Acute HIV
env
(gp41)
gag
(p24)
- Keating et al CID, 2016
pol
(p31)

## Slide 27: Initiation of ART During Acute HIV Infection Leads to a High Rate of Nonreactive HIV Serology
RNA+, p24 -, IgM -
RNA+, p24+, IgM -
De Souza et al CID, 2016
33%
4%
17%
All
4th gen performance similar to 2nd gen
All reactive by 3rd gen
More reactive by 3rd than 4th gen

## Slide 28: Antigens in 3rd gen and 4th gen antibody assays differ
gp41, p24 antibodies
gp41 antibodies

## Slide 29: On the Horizon…

## Slide 30
HIV-1/2 antigen/antibody immunoassay
HIV-1/HIV-2 antibody differentiation immunoassay
(-)
(+)
HIV-1 (+)
HIV-2 (-)
HIV-1 antibodies detected
HIV-1 (-)
HIV-2 (+) HIV-2 antibodies detected
HIV-1 (-) or indeterminate
HIV-2 (-) or indeterminate
HIV-1 NAT
HIV-1 NAT (+) Acute HIV-1 infection
HIV-1 NAT (-) Negative for HIV-1
Negative for HIV-1 and HIV-2 antibodies and p24 Ag
HIV-1 (+)
HIV-2 (+) HIV antibodies detected
(+) indicates reactive test result
(-) indicates non-reactive test result
NAT: nucleic acid test

## Slide 31
HIV-1/2 antigen/antibody immunoassay
HIV-1/HIV-2 antibody differentiation immunoassay
(-)
(+)
HIV-1 (+) HIV-2 (-)
HIV-1 (-) HIV-2 (+)
Negative for HIV-1 and HIV-2 antibodies and p24 Ag
HIV-1 (+) HIV-2 (+)
HIV-1 RNA viral load
Detectable
Treat
HIV-1 (-) or ind HIV-2 (-) or ind
Undetectable
(99.6%)
2nd Ag/Ab assay
(-)
Uninfected
(+)
Add’l NAT
HIV infected

## Slide 32: “Point-of-Care” Nucleic Acid Tests
Xpert HIV-1 viral load
  1 ml plasma
  Results in 90 minutes
  LOD 32 copies/mL
  CE-marked December 2014
GeneXpert
Not yet available in U.S.

## Slide 33: “Point-of-Care” Nucleic Acid Tests
m-PIMA
SAMBA II

## Slide 34: Summary
HIV tests differ in subtle ways that affect different circumstances
RNA & viral load will play an increasingly important role in HIV diagnosis
Early treatment (and PrEP) can lead to non-reactive serology and undetectable RNA
  New techniques (such as whole blood total nucleic acid) are needed.